Installation of pickup coil

Make the two screws of pickup coil are aligned with the threaded hole and insert it.

There is two smaller coils on the side of pickup coil ,and small coil’s line of centres will be perpendicular to ground;

There are two support columns on the pickup coil, and ensure the short one is on the dead ahead, while the tall one is on the rear;

The two wires will be parallel with the ground ,then the installment will be begin;

Note, the size of the pickup coil is same as the pole face’s size, align the pickup coil with pole face, and then adjust the pickup coils and make the small coil’s line of centres will be perpendicular to ground;

And then screw the screw on the support column, make the pickup coil will be propped between two pole faces;

After firmly installed, the pickup coil can be used normally.